## Demand Response Matrix
|  | ISO-NE |  | CAISO |  |  |  | MISO |  |  | NYISO |  |  | PJM |  | SPP | ERCOT |  | IESO
Appendix: Matrix of Demand Response Programs at North American Independent System Operators | Matrix created in January 2025 | Active Demand Capacity Resource | Passive Demand Response | Utility Demand Response | Supply Plan Demand Response | California Public Utilities Commission - Emergency Load Reduction Program | California Energy Commission - Demand Side Grid Support | Load-Modifying Resources | Demand Response Resources | Emergency Demand Response | Special Case Resources | Emergency Demand Response | Day-Ahead Demand Response Program | Load Management | Economic Demand Response | Demand Response Program | Non-Controllable Load Resources | Controllable Load Resources | Hourly Demand Response Resource
ESIG report: Gaps, Barriers, and Solutions to Demand Response Participation in Wholesale Markets | MW quantity, 2021 | 511 MW | 3,423 MW | 1,499 MW | 262 MW | ~ 200 MW |  | 11,220 MW | 350 MW | 627 MW | 1,168 MW | 2 MW | 0 | 8833 MW | 2015 MW | 176 MW | 3,795 MW | 100+ MW | 808 MW
https://www.esig.energy/demand-response-in-wholesale-markets | MW quantity, 2022 | 466 MW | 3,610 MW | 1,459 MW | 417 MW | ~ 200 MW |  | 11,712 MW | 430 MW | 119 MW | 1,231 MW | 3 MW | 0 | 9074 MW | 2636 MW | 362 MW | 3,610 MW | 600+ MW | 923 MW
| MW quantity, 2023 | 438 MW | 3,360 MW | 1,348 MW | 333 MW | ~ 200 MW |  | 11,829 MW | 508 MW | 331 MW | 1,282 MW | 12 MW | 0 | 8203 MW | 3007 MW | 793 MW | 3,435 MW | 607 MW | 955 MW
| Definition | Dispatchable Demand Response Resources composed of individual or aggregations of Demand Response Assets | On-Peak or Seasonal-Peak demand response assets that are unable to respond to dispatch instructions | Programs operated by load-serving entities, largely within the jurisdiction of the California Public Utilities Commission. Can consist of Reliability Demand Response Resources or Proxy Demand Resources | Programs that are operated and scheduled by third-party, non-utility providers. Can only consist of Proxy Demand Resources | Started in 2021, the Emergency Load Reduction Program serves as the last resort during an emergency grid situation issued by CAISO. Participation is handled by the state's three investor-owned utilities. | The Demand Side Grid Support Program offers different incentive options for retail suppliers (and their customers) registered with the California Energy Commission to reduce load during emergency conditions. | Planning resources that are largely administrated by regulated utilities. Can consist of behind-the-meter generation, demand response, or energy efficiency. | Category of demand response that are assumed to respond to MISO's real-time curtailment instructions. Divided into two subcategories, Type I and Type II. | As an alternative to qualifying as a load-modifying resource, these resources will be selected by MISO in economic merit order during an emergency. | A type of demand response resource that may offer capacity into NYISO's capacity market. These resources are obligated to reduce their load when called upon with two or more hours notice. | Demand response resources specifically called upon during emergencies for load curtailment. Mutually exclusive from Special Case Resources | Demand response resources that are able to offer load curtailment into the day-ahead market as an energy supply resource. Can also be qualified as a resource in the Demand-Side Ancillary Services Program. | Curtailment service providers make a commitment in the capacity market to reduce load when required by the system. Traditionally either pre-emergency or emergency demand response, but Price Responsive Demand falls under the same umbrella with regard to capacity market participation. | Providers participate in the energy and ancillary services markets when it is economic for them. Similar dispatch to a generator. | Load-reduction programs capable of being controlled or dispatched by either a load-response entity, market participant, or transmission provider. | Most of the demand response resources in ERCOT are Non-Controllable Load Resources that participate in the ERCOT ancillary service markets using under-frequency relays, notably in the Responsive Reserve Service market. These resources can also provide non-spinning reserves and ERCOT Contingency Reserve Service. | Individual or aggregate demand response resources that can respond to dispatch instructions from ERCOT. | Individual or aggregate (often aggregate) demand response resources that can be procured to satisfy capacity obligations in IESO's capacity market.
| Sub-definitions | Demand Response Resource - Can offer load reduction into energy and reserve markets Demand Response Asset - Individual contributors to load reductions | On-Peak or Seasonal-Peak - Typically refers to the time period in which the passive demand response is shaving load from | Reliability Demand Response Resource (RDRR) - Demand response resources that are configurable to offer day-ahead energy and respond to reliability event in real-time --Compatible with existing retail emergency-triggered demand response programs Proxy Demand Resource (PDR) - Dispatchable demand response that can economically offer both load curtailment and consumption (PDR-load shift) in the day-ahead and real-time markets | Proxy Demand Resource - Dispatchable demand response that can economically offer both load curtailment and consumption (PDR-load shift) in the day-ahead and real-time markets |  | Incentive Option 1: Standby and Energy Payment Incentive Option 2: Incremental Market-Integrated Demand Response Capacity Incentive Option 3: Market-Aware Behind-the-Meter Battery Storage Pilot |  | Type I: Supply a fixed, pre-specified quantity of energy or contingency reserve through physical load reduction Type II: Can supply varying levels of energy or operating reserves on a five-minute basis and are eligible to set prices |  |  |  | DSASP: Demand-side Ancillary Services Program allows demand response resources to offer load curtailment in the day-ahead or real-time markets as Operating Resource or Regulation Service | Emergency/Pre-emergency: Only registrations that include generators that require certain NERC Energy Emergency Alert (EEA)-level notification to operate can be designated as Emergency Price Responsive Demand: Unlike dispatchable load management, Price Responsive Demand represents reductions in consumer load in response to wholesale prices and is used to change the shape of the capacity market demand curves. |  |  | Responsive Reserve Service: Additional reserves that can provide rapid frequency response that regulation cannot respond to fully Under-frequency relay: Relay that will automatically curtail load if a lower frequency threshold is detected. ERCOT Contingency Reserve Service: Reserve capacity that can be deployed within 10 minutes in response to sudden grid contingencies or net-load ramps |  | Dispatchable loads: load facilities that are registered market participants and participate in the energy, ancillary service, and capacity markets economically, on a 5-minute basis Physical hourly demand response: demand response resources that are registered market participants Virtual commercial and industrial hourly demand response: a virtual Hourly Demand Response resource made up of an aggregation of commercial and industrial demand response contributors Virtual residential hourly demand response: a virtual Hourly Demand Response resource made up of an aggregation of residential demand response contributors
| Capacity market participation | Yes | Yes | Yes, meets LSEs' resource adequacy capacity requirements | Yes, can meet an LSE's resource adequacy capacity requirement | No | No | Yes | No | No | Yes | No | No | Yes | No | No capacity market | No capacity market | No capacity market | Yes
| Energy market participation | Yes | No | Yes, day-ahead and real-time market participation | Yes | No | No, except Option 2 in which incremental capacity above resource adequacy participates in energy market | No, unless dual registered as Demand Response Resource | Yes | Yes | Yes | No | Yes | Yes, if the resource has elected to participate in the energy market | Yes | Yes | Only during an energy emergency, but can provide many different ancillary services | Yes | Yes
| Ancillary service participation | Full participant in reserve market systems |  | Proxy Demand Resource can provide spin and non-spinning reserves. | Proxy Demand Resource can provide spin and non-spinning reserves. |  |  |  | Type II can provide all Operating Reserve products if technically capable. Type I cannot provide regulation or ramp capability due to its on-and-off nature. |  |  |  | Can provide regulation, frequency, and operating reserve services through the Demand-side Ancillary Services Program | Can provide reserve products if elected to participate in the energy market and not active during an emergency event | Can provide all reserve products (Synchronized, Primary, and 30-Minute) | Unclear | Can provide ancillary services as described in sub-definitions |  | Dispatchable loads can satisfy all reserve products (10 min spin, 10 min no spin, 30 min reserve).
| Energy market must-offer requirement | Must offer MWs equal to capacity supply obligation in all hours | No energy market participation | Yes, local regulatory authority determines must offer obligation of retail programs participating as Reliability Demand Response Resource or Proxy Demand Resource to meet a resource adequacy requirement. Must minimally offer bids into designated net peak hours as specified by the Resource Adequacy Availability Incentive Mechanism (RAAIM). | Yes, local regulatory authority determines must offer obligation of 3rd party programs participating as PDR to meet a resource adequacy requirement. Must minimally offer bids into designated net peak hours as specified by the Resource Adequacy Availability Incentive Mechanism (RAAIM) | No requirement to reduce load | No requirement to reduce load | Obligation to curtail during emergencies, but no obligation to offer during other scenarios | Yes, up to capacity accreditation value | None | Always offering through strike-price mechanism | No energy market participation | None | None | No, since no capacity market participation | With no capacity market, there seems to be no obligation to offer other than to offer what is available to SPP. | None | None | Yes, for all hours of the availability window of summer and/or winter obligation periods. If not placed on standby by 7am of dispatch day, Hourly Demand Response resources are permitted to remove offers for remainder of dispatch day.
| Dispatch scenarios | Can be dispatched in any hours with cleared energy market offers | No energy market participation | Can be dispatched in non-emergency scenarios economically in day ahead market, in real-time market Reliability Demand Response used heavily in reliability issue scenarios Proxy Demand Resource can be dispatched in any hours with cleared energy market offers. | Proxy Demand Resource can be dispatched in any hours with cleared energy market offers. | Most commonly dispatched during Energy Emergency Alerts (EEAs) or EEA Watch | Option 1 is dispatched during Energy Emergency Alerts (EEAs) or EEA Watch. Option 2 is dispatched economically by market. Option 3 is "price aware," meaning dispatch is triggered if market prices reach certain levels. | Only dispatched during MISO emergency procedures | Can be dispatched in any hours with cleared energy market offers | Only dispatched during MISO emergencies in economic merit order based on day-ahead energy market offers | Only dispatched during NYISO emergencies in economic merit order based on resource strike price | No energy market participation | Can be dispatched in any hours with cleared energy market offers | Can be dispatched during Pre-Emergency Load Management Reductions before a PJM Maximum Generation Emergency | Can be dispatched in any hours with cleared energy market offers | Can be dispatched in any hours with cleared energy market offers | Only dispatched during Energy Emergency Alerts | Can be dispatched in any hours with cleared energy market offers | Can be dispatched in any hours with cleared energy market offers. Typically, manually dispatched during Energy Emergency Alerts.
| Price formation | Can set price like any other generator. Price cap of $1,000/MWh. | No energy market participation | Proxy Demand Resource can set price like any other generator. Price cap of $1000/MWh. RDRR must bid at 95-100% of market caps and will set price based on this % of cap. | Can set price like any other generator. Soft price cap of $1,000/MWh. | No price formation at the wholesale level | No price formation at the wholesale level. | No energy market participation | Can set price like any other generator. Price cap of $1,000/MWh. | Can set price like any other generator. Price cap of $3,500/MWh. | Locational-Based Marginal Price with guaranteed 4-hour minimum at resource strike price. Must provide strike price at time of enrollment subject to price cap of $500/MWh. | Earns the greater of $500 or the prevailing Locational-Based Marginal Price | Can set price like any other generator. Price cap of $500/MWh. | If registered for participation in the energy market, can receive energy market payments during emergency conditions. Price cap is $1,000 MWh plus any reserve adder the resource is eligible for (given start-up times). | Can set price like any other generator. Price cap of $1,000/MWh unless documentation provided for up to $2,000/MWh. | Unclear whether there is a price cap, but offers are expected to align with opportunity cost of curtailing load | Ancillary service offers are collected in the day-ahead and consist of price/MW pairs that contribute to locational price formation. | Can set price like any other generator. No price cap. | Can submit offers greater than $100/MWh and less than the maximum market clearing price of $2,000/MWh.
| Performance incentives | Subject to penalties through Pay-for-Performance program during capacity scarcity events | None | None | None | None | None | Face financial penalties for non-performance during emergencies, as well as potential disqualification from participation in capacity market | Faces financial penalties for failing to meet scheduled MWs | Faces penalty for underperforming compared to day-ahead schedule | Mandatory performance during reliability event with minimum period of 4 hours | None | None | Penalty for non-performance during emergency procedures | None | None | None | None | The new Performance Adjustment Factor (PAF) will derate a demand response resource's ICAP (installed capacity) based on the most recent performance in a dispatch test. Other settlement charges apply for deviations from dispatch instructions.
| Resource adequacy contributions | Contributes to Net Installed Capacity Requirement (Net ICR) in capacity auctions |  | Meets the resource adequacy obligations of LSEs through local regulatory authority (LRA) supply-side credits | Treated as supply on monthly resource adequacy plans | None | None | Can qualify as unforced capacity (UCAP) resources and meet resource adequacy requirements |  | None | Special Case Resources are allowed to participate in the ICAP capacity market and fulfill UCAP load positions for utilities. Estimated load reductions from all demand response programs are added back into peak load calculations and forecasts. |  |  | A simulated dispatch of Demand Resources is calculated as a Nominal Demand Response value that is scaled each hour depending on simulated load over forecasted peak load. |  | Offsets forecasted peak demand of Load Responsible Entities. | A fixed amount of incremental demand response is added to high load days in the ERCOT load forecast model. |  | Can satisfy capacity obligations in the IESO capacity auction.
| Minimum size | Demand Response Assets' individual size must be at least 10 kW. Demand Response Resources' individual or aggregation size must be at least 100 kW. | Demand Response Assets' individual size must be at least 10 kW. | Proxy Demand Resource must have individual or aggregation size of at least 100 kW, or have 500 kW to participate in ancillary markets. Reliability Demand Response Resources' individual or aggregation size must be at least 500 kW. | Proxy Demand Resource must be at least 100 kW, or be 500 kW to participate in ancillary markets. | None | Options 1 and 2, none. Option 3, 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 1 MW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 100 kW. | Individual or aggregation must be at least 1 MW.
| Active accreditation reforms | Resource Capacity Accreditation (RCA) and Capacity Auction Reforms (CAR) will derate capacity of active demand response based on modeled availability during potential loss-of-load events. | Resource Capacity Accreditation (RCA) Capacity Auction Reforms (CAR) will derate capacity of passive demand response based on modelled availability potential loss-of-load events. | Ongoing local regulatory authority (LRA) accreditation process. The California Public Utilities Commission's load impact protocol (LIP) process is used in determining investor-owned utility programs' qualified capacity. | Ongoing local regulatory authority (LRA) accreditation process. The California Public Utilities Commission's load impact protocol (LIP) process is used in determining third-party programs' qualified capacity. | None | None | MISO is looking to implement stricter technology requirements for Load Modifying Resources. Over 90% of LMR capacity is expected to not qualify under the new rules. | None | None | None | None | NYISO is awaiting a FERC decision on enhancements to a DER and Aggregation participation model that would sunset the Day-Ahead Demand Response Program. | None | None | Currently, the amount of load reduction is measured as the difference in peak demand for the Load Responsible Entity with and without the demand response resource. | None | None | No derate applied based on availability, but a Performance Adjustment Factor can apply based on historical performance in previous season's capacity test.

## Table 2 Sources
Sources for Table 2, "ISO Demand Response Program Quantities, 2021–2023"
ISO | Data Source | 2021 MW Source | 2022 MW Source | 2023 MW Source | Data Gather Method | URL
CAISO | Demand Response Issues and Performance Report | 2021 report | 2022 report | 2023 report | Average monthly MW values shown | https://www.caiso.com/market-operations/market-monitoring/reports-and-presentations
ERCOT | Annual Reports of Demand Response in the ERCOT Region | 2021 report | 2022 report | 2023 report | NCL program: Max amount of RRS offers CLR program: Listed in report | https://www.ercot.com/mp/data-products/data-product-details?id=NP3-110
IESO | Capacity Auction Result News Releases | 2021 auction results | 2022 auction results | 2023 auction results | Summer obligation MW minus non-DR resources | https://www.ieso.ca/en/Sector-Participants/Market-Operations/Markets-and-Related-Programs/Capacity-Auction
ISO-NE | Monthly Market Reports | Dec 2021 report | Dec 2022 report | Dec 2023 report | June CSO MW values | https://www.iso-ne.com/markets-operations/market-performance/performance-reports
MISO | State of the Market Reports (Potomac Economics) | 2023 report |  |  | Total minus cross-registered MW | https://www.potomaceconomics.com/markets-monitored/miso/
NYISO | Annual Reports on Demand Response Programs | 2021 report | 2022 report | 2023 report | Program enrollment MW | https://www.nyiso.com/demand-response
PJM | Demand Response Monthly Activity Reports | 2021 report | 2022 report | 2023 report | Total active participant MW | https://www.pjm.com/markets-and-operations/demand-response
SPP | Annual State of the Market Reports | 2023 report |  |  | Nameplate capacity MW | https://www.spp.org/documents/71645/2023%20annual%20state%20of%20the%20market%20report%20v2.pdf

## Table 3 Sources
Sources for Table 3, "Demand Response Performance During Recent Grid Emergencies"
Region | Event Date | Data Source | Data Gather Method | URL
CAISO | 2022-09-05 | Appendix of 2022 Report on Demand Response Issues and Performance | Data sourced from Figure 4.2. All values are estimated daily maximums from the figure. Committed MW reported as real-time schedules. Delivered MW reported as total response. | https://www.caiso.com/market-operations/market-monitoring/reports-and-presentations
2022-09-06
2022-09-07
2022-09-08
ERCOT | 2023-08-17 | 2023 Annual Report of Demand Response in the ERCOT Region | Data sourced from Graphs 4 and 5. All values are estimated daily maximums from the graphs. Committed MW reported as ERS Obligation. Delivered MW reported as ERS Response. | https://www.ercot.com/mp/data-products/data-product-details?id=NP3-110
IESO | 2023-07-27 | November 2023 Stakeholder Meeting Materials | Committed MW reported as Capacity Obligation of Activated Resources. Delivered MW reported as Hourly Capacity Delivered. | https://www.ieso.ca/Sector-Participants/Engagement-Initiatives/Engagements/November-2023
2023-09-06
2023-09-07
ISO-NE | 2022-12-24 | Winter 2023 Quarterly Markets Report | Committed MW reported as monthly Capacity Supply Obligation. Delivered MW derived using Net Pay-for-Performance payment and Pay-for-Performance rate. | https://www.iso-ne.com/markets-operations/market-monitoring-mitigation/internal-monitor
| 2023-07-05 | Summer 2023 Quarterly Markets Report
NYISO | 2023-08-21 | 2023 Annual Report on Demand Response | Data sourced from Table 11 for SCRs only. Committed MW reported as SCR ICAP. Delivered MW reported as ICAP Equivalent of Average Hourly Response MW | https://www.nyiso.com/demand-response
PJM | 2022-06-14 | Load Management Report 2022/2023 | Data sourced from Table 4. Committed MW reported as listed. Delivered MW reported as Avg Hourly Expected Energy MW. | https://www.pjm.com/markets-and-operations/demand-response
2022-06-15
2022-06-16
2022-12-23
2022-12-24